## Slide 1
+ mode
× mode

## Slide 2
Laser
1064 nm
Faraday
isolator
EOM
broadband
QWP
HWP
Optical fiber
Collimator
f = 400 mm
20 mW
f = 250 mm
f = 75 mm
f = 88.3 mm
Lens
40 mW

## Slide 3
End mirror
99.9%,
Concave 4 m
Mid mirror
99.94%,
Convex 7 m
Folded mirror
99.4%,
Flat
62.5 mm
31.1 mm
47.6 mm
HR coating
AR coating
Front mirror
99.4%,
Flat
30 deg

## Slide 4
Mid mirror
Folded mirror
End mirror
Spacer
Jig
Top view
Side view
PZT
Screw
O-ring
50 mm
60 mm
37 mm
105 mm

## Slide 5
End mirror
Spacer
PZT
O-ring
Jig
Plate
Shim plate
0.1 mm
0.03 mm
0.03 mm
25 mm
6.35 mm
19.8 mm
Screw
10 mm
15 mm

## Slide 6
Mid mirror
Folded mirror
End mirror
Spacer
Jig
Top view
Side view
PZT
Screw
MiSUMi, DBS4-8-8
MiSUMi, DBS4-8-6
MiSUMi,
DBS4-8-8
O-ring
MiSUMi,
DBS4-10-8
50 mm
60 mm
37 mm
105 mm

## Slide 7
End mirror
Layertec, custom order
Spacer
Tsubata, custom order
PZT
Thorlabs, PC4WL
O-ring
MiSUMi, NPA20
Jig
Engineering office, custom order
Plate
Tsubata, custom order
Shim plate
0.1 mm
0.03 mm
0.03 mm
25 mm
6.35 mm
19.8 mm
Screw
MiSUMi, DBS4-10-8
10 mm
15 mm

## Slide 8
RFQPD
RFPD
Laser
1064 nm, 1 W
EOM
BS
50:50
flat
7 m, 100%
PD
WFS signal
Filter
Oscillator
15 MHz
Mixer
Beam
dumps
78.7 mm

## Slide 9
RFQPD
RFPD
Laser
1064 nm, 1 W
EOM
BS
50:50
flat
7 m,
99.94%
PD
Coupled WFS signal
Filter
Oscillator
15 MHz
Mixer
Beam
dumps
78.7 mm
4 m,
100%
62.5 mm

## Slide 10
RFQPD
RFPD
Laser
1064 nm, 1 W
EOM
BS
50:50
WFS signal
Filter
Oscillator
15 MHz
Mixer
Beam
dumps
flat, 98.2%
7 m, 100%
PD
78.7 mm
1 nrad
1 m

## Slide 11
RFQPD
RFPD
Laser
1064 nm, 1 W
EOM
BS
50:50
Filter
Oscillator
15 MHz
Mixer
Beam
dumps
PD
1 nrad
1 m
4 m, 100%
62.5 mm
flat, 98.2%
7 m, 99.94%
78.7 mm
Coupled WFS signal

## Slide 12
Laser
Faraday
isolator
EOM
QWP
HWP
Optical fiber
Collimator
HWP
Lenses

## Slide 13
Optical fiber
Collimator
RFPD
RFPD
RFQPD
QPD
PD
PD
PD
Coupled cavity
Camera
Camera

## Slide 14
Auxiliary cavity
PZT in laser source
PZT amp.
Low-pass filter
補助共振器単体

## Slide 15
Main cavity
PZT in laser source
PZT amp.
Low-pass filter
主共振器単体
PZT amp.
Low-pass filter
PZT on front mirror

## Slide 16
Low-pass filter
Auxiliary cavity
PZT amp.
補助共振器単体
PZT on end mirror

## Slide 18
Design
Loss of
auxiliary cavity

## Slide 19
Front mirror
Mid mirror
End mirror
Auxiliary cavity
Main cavity
Front mirror
Auxiliary cavity
Main cavity

## Slide 20
Front mirror
End mirror

## Slide 21
Front mirror
End mirror
Input beam axis
Cavity axis
Reflected beam axis
Beam waist
RFQPD

## Slide 22
Front mirror
End mirror

## Slide 23
ハイパス
フィルタ
増幅回路
49.9
2.2n
2.2u
1n
150
2.7k
330
1k
49.9
C1’
RF信号
DC信号
0-18p
共振回路

## Slide 24
補助共振器単体
Filter
Sensor
Actuator
Error signal
Feedback signal

## Slide 25
補助共振器単体
Filter
Sensor
Actuator

## Slide 26
主共振器単体

## Slide 27
RFPD
Laser
EOM
Filter
Mixer
BS
Oscillator
PDH signal
Feedback signal
Modulation
Demodulation